## Summary
Constants |  | Energy IN | 280622.355 | Energy OUT | 394676
Realistic best | 43141.875 | Solar | 280622.355 | Lights | 51048 | 12.93%
Realistic worst | -93245.845 |  |  | Desktops | 34080 | 8.635%
Daily Hours (whole Building | 12 |  |  | Lifts | 5475 | 1.387%
Daily Hours (Office Computers) | 8 |  |  | Cooking | 51350 | 13.01%
Working Days | 300 |  |  | Heating | 78515 | 19.89%
Carbon Emmissions Best Case Energy Savings (Tonnes of CO2) | 0 |  |  | Café | 25000 | 6.334%
Carbon Emmissions Worst Case Energy Savings (Tonnes of CO2) | 21.7263 |  |  | Pump | 14280 | 3.618%
Carbon No Energy Savings (Tonnes of CO2) | 26.5745 |  |  | Big Screens | 10584 | 2.682%
Carbon Emissions No Solar (Tonnes of CO2) | 91.9595 |  |  | Laptops | 95040 | 24.08%
Energy Use covered by Solar Best Case | 118.2% |  |  | Printers | 5544 | 1.405%
Energy Use covered by Solar Worst Case | 75.06% |  |  | Monitors | 23760 | 6.02%
Energy Use Covered Energy Savings | 71.1% |  |  | Ventilation |  | 0%
|  |  |  | EV | 189000 | 100%

## 89100
Energy Demand Type | Percentage Energy Demand | Energy Demand kWh/year
Office Equipment | 42.82% | 169008
Heating and Ventilation | 19.89% | 78515
Breakroom Equipment | 13.01% | 51350
Lighting | 12.93% | 51048
Other | 11.34% | 44755
Total | - | 394676

## Graphs
Scenario Type | Energy Use covered by Solar Energy (%) | Scenario Type | Carbon Emissions (Tonnes of CO2/Year) | Trees required for offset
Energy Savings Best Case | 118.2% | Best Case Energy Savings + Solar | 0 | 0 | 0
Energy Savings Worst Case | 75.06% | Worst Case Energy Savings + Solar | 21.7 | 1085 | 1085
No Energy Savings | 71.1% | No Energy Savings + Solar | 26.6 | 1330 | 1330
|  | Best Case Energy Savings | 55.3 | 2765 | 2765
|  | Worst Case Energy Savings | 87.1 | 4355 | 4355
|  | No Energy Savings | 92 | 4600 | 4600

## Cooking
Type | KWH | KWH/Year | amount | Total energy for building
Hot water dispenser | 1.98 | 594 | 26 | 15444
Fridge | - | 166 | 26 | 4316
Water fount | 0.65 | 195 | 26 | 5070
Dishwasher | 3 | 900 | 26 | 23400
Microwave | 0.4 | 120 | 26 | 3120
Total Energy

## Savings
Energy saving Idea | Max Energy Savings | Min Energy savings | Reductions Max | Redcutions Min | Realistic Best Case (KWH/Year) | Realistic Worst Case (KW/m2/Day)
Baseline |  |  | 394676 | 394676 | 394676 | 394676
Roof Insulation | 6.963% | 1.989% | 27480.25 | 7851.5 | 256539.4 | 355208.4
Automatic Lighting Best Case | 4.527% | 1.293% | 17866.8 | 5104.8 | 166750.61 | 355208.4
Pipe work Insulation | 6.963% | 0.9947% | 27480.25 | 3925.75 | 108387.8965 | 320575.581
Boiler Sequence Controls | 4.377% | 0.9947% | 17273.3 | 3925.75 | 84542.5593 | 337447.98
Student Awareness | 10% | 0% | 39467.6 | 0 | 76088.3033 | 355208.4
Staff Awareness | 7% | 0% | 27627.32 | 0 | 70762.1221 | 355208.4
Final | 39.83% | 5.272% | 237480.48 | 373868.2 | 108387.8965 | 320575.581
260078.0394
Constants
Other | 394676
Heating | 78515
Lighting | 51048
Screens | 163464
Heating percent | 0.19894
Lighting percent | 0.12934
Screens percent | 0.41417

## Lighting
Type of lighting | LUX levels | Lights per sq foot | Cost per light | Watts | Electricity use per day (KJ) | KWH/day per light | KWH/Year building | KWH/year per light | Electricity use for building | Cost per unit per day | Electrical cost per day
Overcast Daylight | 1000 | 0.75 | 0
Sunset/Sunrise | 400 | 1.875 | 0 |  | 0 |  |  |  | 0
Moonlight | 1 | 750 | 0 |  | 0 |  |  |  | 0
Overhead lights | 3000 | 0.25 |  | 39 | 1123.2 | 0.468 | 99543.6 | 140.4 | 195436.8 | 0.08 | 13.92
Spotlight | 1000 | 0.75 |  | 10 | 288 | 0.12 | 25524 | 36 | 0 | 0.02
LED tube | 3000 | 0.25 |  | 20 | 576 | 0.24 | 51048 | 72 | 54144 | 0.04
0
Note on C2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: https://ricoman.com/news/office-lighting-lux-levels/
Note on B5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: https://mountlighting.co.uk/product/aura/

## Comps
Type | Amount | Energy Use kw | KWH | KWH/Year | KWH/Year Tot
Laptop (half of population + office workers) | 792 | 0.05 | 0.4 | 120 | 95040
Monitor (2* office workers) | 592 | 0.0125 | 0.1 | 30 | 23760
Desktop (Computer Cluster Only) | 71 | 0.2 | 1.6 | 480 | 34080
Bigscreen (Lecture Theater + Meeting rooms) | 21 | 0.21 | 1.68 | 504 | 10584
Printers (1 in Every Office Space + 2*Library) | 31 | 0.11 | 0.88 | 264 | 5544
163464
1184

## Other
Type | Amount of lifts | Max KWH/day | Max KWH/year | Lifts KWH year
Lift | 3 | 5 | 1825 | 5475
| KW | h | KWH/day | KWH/Year | Amount | Final KWH/Year
Pump | 3.4 | 14 | 47.6 | 14280
EV Chargers | 7 | 6 | 42 | 12600 | 15 | 189000
[8 empty] | Cost to offset | 95 | per tonne
| KW | Time Till Full charge | CO2 Emissions KG | CO2 Emissions Tonne | Cost/hour in offsetting | Cost/hour in power | Cost/hour | Cost of electricity | 77.89 | per mwh | 0.07789 | per kwh
EV COST | 7 | 8.5714 | 1.631 | 0.001631 | 0.15494 | 0.54523 | 0.70017
| 3.7 | 16.2162 | 0.8621 | 0.0008621 | 0.0819 | 0.28819 | 0.37009
| 22 | 2.7273 | 5.126 | 0.005126 | 0.48697 | 1.7136 | 2.2006
| 43 | 1.3953 | 10.019 | 0.010019 | 0.95181 | 3.3493 | 4.3011
| 50 | 1.2 | 11.65 | 0.01165 | 1.1068 | 3.8945 | 5.0012
| 150 | 0.4 | 34.95 | 0.03495 | 3.3203 | 11.6835 | 15.0038

## Solar
Type | Area | kwp | KPW produced | cost m2 | Items required | cost | area
ECO WORTHY | 5.3667 | 1.17 | 1123.2 | 1769 | 934.1702 | 8284898574.0763 | 5013.4114
1kwp | 6m2 |  | 790 kwh |  |  |  |  | 146 kwh/m2.day
250 units at 60kg each

## OVERENERGy
Floor | KWH per m2 day | m2 | kwh/year | units needed | MWH/year |  |  | Floor | KWH per m2 day | m2 | kwh/year | units needed | MWH/year | Floor | KWH per m2 day | m2 | kwh/year | units needed | MWH/year
Gronud | 92 | 2944 | 270848 | 309.7176 | 270.848 |  |  | Gronud | 539 | 2944 | 1586816 | 1814.5409 | 1586.816 | Gronud | 50 | 2944 | 147200 | 168.3248 | 147.2
1 | 92 | 2944 | 270848 | 309.7176 | 270.848 |  |  | 1 | 539 | 2944 | 1586816 | 1814.5409 | 1586.816 | 1 | 50 | 2944 | 147200 | 168.3248 | 147.2
2 | 92 | 2160 | 198720 | 227.2384 | 198.72 |  |  | 2 | 539 | 2160 | 1164240 | 1331.3208 | 1164.24 | 2 | 50 | 2160 | 108000 | 123.4991 | 108
3 | 92 | 2153 | 198076 | 226.502 | 198.076 |  |  | 3 | 539 | 2153 | 1160467 | 1327.0063 | 1160.467 | 3 | 50 | 2153 | 107650 | 123.0989 | 107.65
4 | 92 | 1204 | 110768 | 126.6644 | 110.768 |  |  | 4 | 539 | 1204 | 648956 | 742.0881 | 648.956 | 4 | 50 | 1204 | 60200 | 68.8393 | 60.2
|  | 11405 | 1049260 | 1199.8399 | 1049.26 |  |  |  |  | 11405 | 6147295 | 7029.4969 | 6147.295 |  |  | 11405 | 570250 | 652.0869 | 570.25
[8 empty] | Floor | KWH per m2 day | m2 | kwh/year | units needed | MWH/year
Roof area |  |  |  |  | KG | Power | Orientation | Gronud | 20 | 2944 | 58880 | 67.3299 | 58.88
1 | 323.7617 | 53.9603 | 53.9603 | 53 | 3180 | 22539.575 | -9 | 1 | 20 | 2944 | 58880 | 67.3299 | 58.88
|  | 0 | 0 | 0 |  |  |  | 2 | 20 | 2160 | 43200 | 49.3997 | 43.2
3 | 851.5472 | 141.9245 | 141.9245 | 141 | 8460 | 117145.62 | 128 | 3 | 20 | 2153 | 43060 | 49.2396 | 43.06
4 | 934.0605 | 155.6768 | 155.6768 | 155 | 9300 | 140937.16 | 180 | 4 | 20 | 1204 | 24080 | 27.5357 | 24.08
|  | 351.5616 |  | 349 | [5 empty] | 11405 | 228100 | 260.8348 | 228.1
Roof area | KG | m2 |  |  |  |  | 280622.355 |  |  |  | Roof Area | Amount of Solar Pannels | KWH/Year
1 | 3180 | 318 | [8 empty] | 1 | 159 | 34864.937
2 | 0 | 0 | [8 empty] | 2 | 0 | 0
3 | 8460 | 846 | [8 empty] | 3 | 423 | 117145.62
4 | 9300 | 930 | [8 empty] | 4 | 465 | 140937.16
|  | 2094 | [8 empty] | TOT | 1047 | 292947.717

## Per Room Fit Out
Ground Floor | Recommended Sizing | People | total size | Lumems | Lights required | Lux Levels | Room Type | Computers | Printers | Big Screens | Heating | Canteens | Canteens trunc
total area |  | 535 | 2300.4 | 497140 | 174 | 5650 |  |  |  |  | 2300.4 |  |  | Lighting | 709 | Room Type | Amount | Area
Atrium |  | N/A | 374 |  | 0 |  | Living room |  |  |  | 374 |  |  | Total Pop | 1359 | 0
ACEDEMIC/PUBLIC |  | 435 | 1062.7 | 253570 | 94 | 2600 |  |  |  |  | 1062.7 |  |  | Office Laptops | 367 | Living room | 12 | 1448 | 150 | 217200 | 48
Library |  | 85 | 254 | 76200 | 25 | 300 | Office | 20 | 2 | 1 | 254 | 4.25 | 4 | Big Screens | 21 | Office | 49 | 4762 | 300 | 1428600 | 454
Lecture Theatre |  | 350 | 219 | 65700 | 21 | 300 | Office |  |  | 2 | 219 |  |  | Population Using Laptop (Not office) | 496 | Warehouse | 5 | 537 | 200 | 107400 | 34
Bike Storage |  | N/A | 295 | 59000 | 19 | 200 | Warehouse |  |  |  | 295 |  |  | Canteens | 26 | Bathroom | 9 | 546 | 500 | 273000 | 88
Changing/Shower rooms |  | N/A | 0 | 0 | 1 | 500 | Bathroom |  |  |  | 0 |  |  | Heating energy per sq m | 1 | Stair | 36 | 3795 | 100 | 379500 | 137
Toilet Block 2 |  | N/A | 92 | 46000 | 15 | 500 | Bathroom |  |  |  | 92 |  |  | Printers | 31 |  |  | 11088 | 1250 | 2405700 | 761
Stair well CC |  | N/A | 19.35 | 1935 | 1 | 100 | Stair |  |  |  | 19.35 |  |  | Total Heating | 7767.3
Stair well CC |  | N/A | 19.35 | 1935 | 1 | 100 | Stair |  |  |  | 19.35 |  |  | Heating0 | 110925
Stair well CC |  | N/A | 18 | 1800 | 1 | 100 | Stair |  |  |  | 18 |  |  | Cooling | 10091
lift shaft |  | N/A | 10 | 1000 | 1 | 100 | Stair |  |  |  | 10
utilities |  | N/A | 106 | 21200 | 7 | 200 | Warehouse |  |  |  | 106
Water tank |  | N/A | 30 | 6000 | 2 | 200 | Warehouse |  |  |  | 30
COMMERCIAL |  | 100 | 863.7 | 243570 | 80 | 3050 |  |  |  |  | 863.7
Office 1 |  | 20 | 116 | 34800 | 11 | 300 | Office | 20 | 1 |  | 116
Office 2 |  | 16 | 111 | 33300 | 11 | 300 | Office | 18 | 1 |  | 111
Office 3 |  | 11 | 65 | 19500 | 6 | 300 | Office | 10 | 1 |  | 65
Office 4 |  | 13 | 81 | 24300 | 8 | 300 | Office | 13 | 1 |  | 81
Office 5 |  | 13 | 80 | 24000 | 8 | 300 | Office | 13 | 1 |  | 80
Office 6 |  | 12 | 72 | 21600 | 7 | 300 | Office | 12 | 1 |  | 72
meeting room |  | 15 | 102 | 30600 | 10 | 300 | Office |  |  | 1 | 102
break room |  | 85 | 124 | 18600 | 6 | 150 | Living room |  |  | 1 | 124 | 4.25 | 4
toilet block 1 |  | N/A | 64 | 32000 | 10 | 500 | Bathroom |  |  |  | 64
lift shaft |  | N/A | 10 | 1000 | 1 | 100 | Stair |  |  |  | 10
Stair well CC |  | N/A | 19.35 | 1935 | 1 | 100 | Stair |  |  |  | 19.35
Stair well CC |  | N/A | 19.35 | 1935 | 1 | 100 | Stair |  |  |  | 19.35
First Floor |  | 265 | 1870.75 | 550475 | 181 | 5450 |  |  |  |  | 1870.75
Atrium |  | N/A | 374 |  | 0 | [5 empty] | 374
ACEDEMIC/PUBLIC |  | 165 | 1007.05 | 306905 | 101 | 2400 |  |  |  |  | 1007.05
Library |  | 85 | 254 | 76200 | 25 | 300 | Office |  | 2 | 1 | 254 | 4.25 | 4
Lecture Theatre |  | N/A | 309 | 92700 | 30 | 300 | Office |  |  |  | 309
Computer Cluster |  | 31 | 159 | 47700 | 15 | 300 | Office |  | 1 | 1 | 159
Seminar Room |  | 25 | 64 | 19200 | 6 | 300 | Office |  |  | 1 | 64
Seminar Room |  | 24 | 61 | 18300 | 6 | 300 | Office |  |  | 1 | 61
Toilet Block |  | N/A | 92 | 46000 | 15 | 500 | Bathroom |  |  |  | 92
Stair well CC |  | N/A | 19.35 | 1935 | 1 | 100 | Stair |  |  |  | 19.35
Stair well CC |  | N/A | 19.35 | 1935 | 1 | 100 | Stair |  |  |  | 19.35
Stair well CC |  | N/A | 19.35 | 1935 | 1 | 100 | Stair |  |  |  | 19.35
lift shaft |  | N/A | 10 | 1000 | 1 | 100 | Stair |  |  |  | 10
COMMERCIAL |  | 100 | 863.7 | 243570 | 80 | 3050 |  |  |  |  | 863.7
Office 7 |  | 20 | 116 | 34800 | 11 | 300 | Office | 20 | 1 |  | 116
Office 8 |  | 16 | 111 | 33300 | 11 | 300 | Office | 16 | 1 |  | 111
Office 9 |  | 11 | 65 | 19500 | 6 | 300 | Office | 11 | 1 |  | 65
Office 10 |  | 13 | 81 | 24300 | 8 | 300 | Office | 13 | 1 |  | 81
Office 11 |  | 13 | 80 | 24000 | 8 | 300 | Office | 11 | 1 |  | 80
Office 12 |  | 12 | 72 | 21600 | 7 | 300 | Office | 12 | 1 |  | 72
meeting room |  | 15 | 102 | 30600 | 10 | 300 | Office | 15 |  | 1 | 102
break room |  | 85 | 124 | 18600 | 6 | 150 | Living room |  |  | 1 | 124 | 4.25 | 4
toilet block |  | N/A | 64 | 32000 | 10 | 500 | Bathroom |  |  |  | 64
lift shaft |  | N/A | 10 | 1000 | 1 | 100 | Stair |  |  |  | 10
Stair well CC |  | N/A | 19.35 | 1935 | 1 | 100 | Stair |  |  |  | 19.35
Stair well CC |  | N/A | 19.35 | 1935 | 1 | 100 | Stair |  |  |  | 19.35
Second Floor |  | 223 | 1606.05 | 451705 | 144 | 6250 |  |  |  |  | 1606.05
Atrium |  | N/A | 374 |  | 0 | [5 empty] | 374
ACEDEMIC OFFICES |  | 153 | 951.05 | 266605 | 84 | 4200 |  |  |  |  | 951.05
Exhibition Space |  | 65 | 216 | 64800 | 21 | 300 | Office |  |  | 2 | 216
meeting room 1 |  | 12 | 73 | 21900 | 7 | 300 | Office |  |  | 1 | 73
meeting room 2 |  | 12 | 71 | 21300 | 7 | 300 | Office |  |  | 1 | 71
office A1 |  | 6 | 29 | 8700 | 2 | 300 | Office | 6 | 1 |  | 29
office A2 |  | 6 | 30 | 9000 | 3 | 300 | Office | 6 | 1 |  | 30
office A3 |  | 6 | 30 | 9000 | 3 | 300 | Office | 6 | 1 |  | 30
office A4 |  | 6 | 29 | 8700 | 2 | 300 | Office | 6 | 1 |  | 29
office A5 |  | 15 | 84 | 25200 | 8 | 300 | Office | 15 | 1 |  | 84
office A6 |  | 10 | 66 | 19800 | 6 | 300 | Office | 10 | 1 |  | 66
office A7 |  | 15 | 88 | 26400 | 8 | 300 | Office | 15 | 1 |  | 88
break room |  | 64 | 74 | 11100 | 3 | 150 | Living room |  |  | 1 | 74 | 3.2 | 3
Multi faith room |  | N/A | 36 | 5400 | 1 | 150 | Living room |  |  |  | 36
Toilet block |  | N/A | 57 | 28500 | 9 | 500 | Bathroom |  |  |  | 57
Stair well CC |  | N/A | 19.35 | 1935 | 1 | 100 | Stair |  |  |  | 19.35
Stair well CC |  | N/A | 19.35 | 1935 | 1 | 100 | Stair |  |  |  | 19.35
Stair well CC |  | N/A | 19.35 | 1935 | 1 | 100 | Stair |  |  |  | 19.35
lift shaft |  | N/A | 10 | 1000 | 1 | 100 | Stair |  |  |  | 10
COMMERCIAL |  | 70 | 655 | 185100 | 60 | 2050 |  |  |  |  | 655
Office 13 |  | 20 | 118 | 35400 | 11 | 300 | Office | 20 | 1 |  | 118
Office 14 |  | 16 | 111 | 33300 | 11 | 300 | Office | 16 | 1 |  | 111
Office 15 |  | 14 | 83 | 24900 | 8 | 300 | Office | 14 | 1 |  | 83
Conference Room |  | 20 | 127 | 38100 | 12 | 300 | Office | 20 |  | 1 | 127
Break room |  |  | 124 | 18600 | 6 | 150 | Living room |  |  |  | 124 | 0 | 0
Toilet block |  | N/A | 64 | 32000 | 10 | 500 | Bathroom |  |  |  | 64
lift shaft |  | N/A | 10 | 1000 | 1 | 100 | Stair |  |  |  | 10
Stair well CC |  | N/A | 18 | 1800 | 1 | 100 | Stair |  |  |  | 18
Third Floor |  | 129 | 1248.4 | 285940 | 90 | 4250 |  |  |  |  | 1248.4
Atrium |  | N/A | 374 |  | 0 | [5 empty] | 374
AGEING DEVELOPMENT |  | 129 | 922.05 | 193905 | 59 | 3750 |  |  |  |  | 922.05
Reception |  | 4 | 39 | 11700 | 3 | 300 | Office |  |  |  | 39
Staff Break Room |  | N/A | 72 | 10800 | 3 | 150 | Living room |  |  |  | 72 | 3.6 | 3
Nurse Station |  | 10 | 48 | 14400 | 4 | 300 | Office |  |  |  | 48
Screening Room 1 |  | 5 | 37 | 11100 | 3 | 300 | Office |  |  |  | 37
Screening Room 2 |  | 5 | 39 | 11700 | 3 | 300 | Office |  |  |  | 39
Screening Room 3 |  | 5 | 37 | 11100 | 3 | 300 | Office |  |  |  | 37
Exercise/Movement Studio |  | 30 | 216 | 32400 | 10 | 150 | Living room |  |  |  | 216
Activities/Craft Room |  | 30 | 91 | 13650 | 4 | 150 | Living room |  |  |  | 91
Music Therapy Room |  | 20 | 51 | 7650 | 2 | 150 | Living room |  |  |  | 51
Physio-therapy room |  | 5 | 50 | 15000 | 5 | 300 | Office |  |  |  | 50
Massage Treatment Room |  | 15 | 76 | 11400 | 3 | 150 | Living room |  |  |  | 76
Storage Room |  | N/A | 36 | 7200 | 2 | 200 | Warehouse |  |  |  | 36
Hydraulic Lift Shaft (3-4) |  | N/A | 5 | 500 | 1 | 100 | Stair |  |  |  | 5
Lift shaft |  | N/A | 10 | 1000 | 1 | 100 | Stair |  |  |  | 10
Toilet block |  | N/A | 57 | 28500 | 9 | 500 | Bathroom |  |  |  | 57
Stair well CC |  | N/A | 19.35 | 1935 | 1 | 100 | Stair |  |  |  | 19.35
Stair well CC |  | N/A | 19.35 | 1935 | 1 | 100 | Stair |  |  |  | 19.35
Stair well CC |  | N/A | 19.35 | 1935 | 1 | 100 | Stair |  |  |  | 19.35
PUBLIC CAFE |  | 0 | 326.35 | 92035 | 31 | 500 |  |  |  |  | 326.35 | 0 | 0
Cafe |  | 125 | 297 | 89100 | 29 | 300 | Office |  |  |  | 297
Stair well CC |  | N/A | 19.35 | 1935 | 1 | 100 | Stair |  |  |  | 19.35
Lift Shaft |  | N/A | 10 | 1000 | 1 | 100 | Stair |  |  |  | 10
Fourth Floor |  | 82 | 741.7 | 205070 | 65 | 3250 |  |  |  |  | 741.7
R+D |  |  | 741.7 |  | 0 | [5 empty] | 741.7
Primary Lab |  | 30 | 179 | 53700 | 17 | 300 | Office | 1 |  | 1 | 179
Secondary Lab |  | 16 | 106 | 31800 | 10 | 300 | Office | 1 |  | 1 | 106
Tertiary Lab |  | 10 | 59 | 17700 | 5 | 300 | Office | 1 |  | 1 | 59
Office |  | 6 | 31 | 9300 | 3 | 300 | Office | 6 | 1 |  | 31
Office |  | 6 | 34 | 10200 | 3 | 300 | Office | 6 | 1 |  | 34
Office |  | 6 | 32 | 9600 | 3 | 300 | Office | 6 | 1 |  | 32
Office |  | 8 | 45 | 13500 | 4 | 300 | Office | 8 | 1 |  | 45
Storage |  | N/A | 70 | 14000 | 4 | 200 | Warehouse |  |  |  | 70
Break Room |  | 82 | 86 | 12900 | 4 | 150 | Living room |  |  | 1 | 86 | 4.1 | 4
Toilet Block |  | N/A | 56 | 28000 | 9 | 500 | Bathroom |  |  |  | 56
Stair Well CC |  | N/A | 19.35 | 1935 | 1 | 100 | Stair |  |  |  | 19.35
Stair Well CC |  | N/A | 19.35 | 1935 | 1 | 100 | Stair |  |  |  | 19.35
Hydraulic Lift Shaft (3-4) |  | N/A | 5 | 500 | 1 | 100 | Stair |  |  |  | 5
Corridora |  |  | 1660.35 | 166035 | 55 | 100 | Stair
G |  |  | 658.25 | 65825 | 21 | 100 | Stair
1 |  |  | 347.25 | 34725 | 11 | 100 | Stair
2 |  |  | 271.95 | 27195 | 9 | 100 | Stair
3 |  |  | 174.6 | 17460 | 5 | 100 | Stair
4 |  |  | 208.3 | 20830 | 6 | 100 | Stair
Note on D6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Curtis Auditorium

## Solar Pannel Dimentions
| Roof Are | Outside Dimention | Solar pannel area | degrees | Inside area | area | average rad | tang | reduce tang | reduce deg | rad | area | act | Angle from 180
1 | 387 |  | 258 | 74 | 145.2987 | 532.2987 | 28.7103 | 13.7103 | 12.7103 | 70 | 27.7103 | 469.0603 | 323.7617 | -9 | -83
|  |  |  | 70 | [9 empty] | 61 | -9
3 | 964 |  | 720 | 67 | 131.5542 | 1095.5542 | 43.2868 | 28.2868 | 27.2868 | 63 | 42.2868 | 983.1014 | 851.5472 | 128 | 61
4 | 1066 |  | 924 | 52 | 102.1018 | 1168.1018 | 50.7359 | 35.7359 | 34.7359 | 48 | 49.7359 | 1036.1623 | 934.0605 | 180 | 128
| 15 | 30 | 3040 |  |  |  |  | 0.047885 | 0.95212
| 706.8583 | 2827.4334 | 1590.4313
[7 empty] | 0.65188 | 1.1781 | 2.618 | 1.0472
|  | 0.86603 |  |  | pi() | r^2